## Forecast
[7 empty] | POWER GRID COMPANY OF BANGLADESH LTD. | [6 empty] | QF-LDC-07
SUMMARY OF DAILY ELECTRICITY GENERATION
|  | Month : |  | 2012-02-01 01:28 |  |  | Day : | Wednesday |  |  |  | Date : | 2012-02-01 01:28
| Probable Maximum Generation : |  |  |  | (a) At Day Peak Hour : |  | 4286 | MW |  | (b) At Evening Peak Hour : |  |  | 4927 | MW
| Water Level of Kaptai Lake at 06:00 AM |  |  |  | (a) Yesterday : |  | 91.11 | ft |  | (b) Today: | 90.88 | ft (c) Rule Curve: |  | 97 | ft
Sl. | Name of the Power Station |  | Fuel | Producer | Instslled Capacity |  | Derated/ | Actual Generation |  | Available Geneneration |  | Ev. Peak Gen.Shortfall |  | Plants under |  | Probable
[7 empty] | Present | On | 2012-01-31 01:28 | On | 2012-02-01 01:28 | for Fuel | for Plants S/D | Shut down (Date) / |  | Start up
[7 empty] | Capacity | Day Peak | Ev. Peak | Day Peak | Ev. Peak | Limitation | or M/C prob. | Remarks |  | Date
[6 empty] | MW | MW | MW | MW | MW | MW | MW | MW
1a | Ghorasal ST 1& 2 |  | Gas | PDB | 2X55 | 110 | 78 | 0 | 41 | 41 | 41 |  | 30 | #2(26/04/10) |  | Unknown
1b | Ghorasal ST 3,4,5& 6 |  | Gas | PDB | 4X210 | 840 | 740 | 550 | 510 | 460 | 550 |  | 190 | #6(18/07/10) |  | Unknown
2 | Ghorashal 100 MW |  | Gas/HSD | QRPP 3yrs | 128X0.85 | 100 | 100 | 101 | 104 | 76 | 100 |  |  | 20 MW gas & 80 MW HSD
3 | Ghorashal 45 MW |  | Gas | QRPP 3yrs | 50X0.85 | 45 | 45 | 46 | 45 | 44 | 45 |  |  | Synchronized at 33KV
4 | Ghorashal MAX |  | Gas | RPP | 4x19.6 | 78 | 78 | 0 | 0 | 0 | 0 | 78 |  | 4 M/C
5 | Haripur SBU GT 1, 2 & 3 |  | Gas | SBU,PDB | 3x32 | 96 | 84 | 40 | 40 | 38 | 40 |  | 44 | #3(18/06/09) |  | Unknown
6 | Haripur NEPC |  | HFO | IPP | 8x15 | 110 | 85 | 83 | 108 | 110 | 100
7 | Haripur P. Ltd CCPP |  | Gas | IPP | 235+125 | 360 | 360 | 211 | 183 | 231 | 183 | 177
8 | Meghnaghat P.Ltd CCPP |  | Gas | IPP | 3X150 | 450 | 450 | 425 | 400 | 415 | 400 | 50
9 | Meghnaghat IEL |  | HFO | RPP | 12x8.9 | 100 | 100 | 100 | 100 | 100 | 100
10 | Madanganj 102 MW |  | HFO | QRPP 3yrs | 6x17.08 | 102 | 102 | 0 | 84 | 61 | 84 |  | 18 | 1 M/C
11 | Narshingdi |  | Gas | SIPP,REB | 8X2.90 | 22 | 22 | 22 | 22 | 22 | 22 |  |  | Synchronized at 33KV
11a | Siddhirgonj ST |  | Gas | EGCB | 1x210 | 210 | 150 | 0 | 0 | 0 | 0 |  | 150 | 2011-08-01 |  | Unknown
11b | Siddhirgonj GT-1, 2 |  | Gas | EGCB | 2x120 | 210 | 210 | 45 | 42 | 45 | 42 | 168 |  | 1 M/C
12 | Siddhirganj 100MW |  | HSD | QRPP 3yrs | 96x1.2 | 96 | 96 | 82 | 91 | 82 | 91 |  |  | 7 M/C
13 | Dutch Bangla 100 MW |  | HFO | RPP | 12x8.9 | 100 | 100 | 95 | 103 | 100 | 100
14 | DPA Power 50MW |  | HSD | QRPP 3yrs | 100X0.5 | 49 | 49 | 0 | 0 | 0 | 0 |  | 50 | Synchronized at 33KV,30/1/12 |  | 1912-02-02
15 | Summit Power (Dhaka) |  | Gas | SIPP,REB |  | 146 | 146 | 88 | 97 | 93 | 97 |  |  | Synchronized at 33KV, 5 M/C
16 | Tongi GT |  | Gas | PDB | 1X 105 | 105 | 105 | 0 | 50 | 20 | 50 | 55
| Dhaka Area Total |  |  |  |  | 3329 | 3100 | 1888 | 2020 | 1938 | 2045 | 528 | 482
1 | Chittagong Raozan ST 1 & 2 |  | Gas | PDB | 1x210,1x180 | 420 | 380 | 0 | 0 | 0 | 0 | 380 |  | #2 (26/3/11),#1(24/11/11) |  | Unknown
2 | Kaptai Hydro unit 1,2,3,4&5 |  |  | PDB | 2X40+3X50 | 230 | 220 | 73 | 174 | 70 | 174 |  | 50 | #3(1/12/10) |  | Unknown
3a | Sikalbaha ST |  | Gas | PDB | 1X60 | 60 | 40 | 0 | 0 | 0 | 0 | 40 |  | 2011-11-16 |  | Unknown
3b | Sikalbaha GT |  | Gas | PDB | 1x150 | 150 | 150 | 0 | 0 | 0 | 0 | 150 |  | 2011-11-14 |  | Unknown
4 | Sikalbaha |  | HFO | RPP 3yrs | 4X12.5+2X11.9+1X3+1X1.5 | 55 | 53 | 0 | 16 | 8 | 16 |  | 37 | 5 M/C
5 | Hathazari |  | Gas/HFO | PDB | 11x8.9 |  |  | 0 | 34 | 0 | 34 |  |  | On Test
6 | Dohazari |  | Gas/HFO | PDB | 6x17 |  |  | 0 | 68 | 68 | 0 |  |  | On Test
7 | Juldah |  | HFO | RPP | 8x13.45 |  |  | 0 | 0 | 0 | 0 |  |  | On Test
8 | Barabkunda |  | Gas | SIPP,PDB | 8X2.90 | 22 | 22 | 20 | 19 | 19 | 19 |  |  | Synchronized at 33KV, 5 M/C
9 | Malancha,Ctg EPZ |  | Gas |  |  |  |  | 8 | 24 | 5 | 24 |  |  | Synchronized at 33KV
| Chittagong area Total |  |  |  |  | 937 | 865 | 101 | 335 | 170 | 267 | 570 | 87
1a | Ashuganj ST 1,2 |  | Gas | APSCL | 2x64 | 128 | 128 | 50 | 50 | 50 | 50 |  | 64 | #1(9/11/10) |  | Unknown
1b | Ashuganj ST 3,4,5 |  | Gas | APSCL | 3x150 | 450 | 390 | 290 | 290 | 290 | 290 |  | 100 | #3(10/11/11) |  | 2012-02-10
1c | Ashuganj CCPP |  | Gas | APSCL | 2x56+34 | 146 | 91 | 86 | 91 | 91 | 91
1d | Ashuganj 50 MW |  | Gas | APSCL | 16x3.35 | 53 | 53 | 47 | 47 | 47 | 47 |  |  | 2 M/C
2 | Ashuganj |  | Gas | RPP 3yrs | 15x4 | 55 | 55 | 50 | 50 | 46 | 50 |  |  | 2 M/C
3 | Ashuganj Aggrekko |  | Gas | RPP | 82x1.1 | 80 | 80 | 80 | 80 | 76 | 80
4 | Ashuganj UP-53 MW |  | Gas | RPP | 14x4 | 53 | 53 | 53 | 53 | 53 | 53
5 | Brahmanbaria 70MW |  | Gas | QRPP 3yrs | 72x1 | 68 | 68 | 60 | 70 | 69 | 68
6 | Daudkandi 50 MW |  | FO | PDB | 6x8.92 | 52 | 52 | 0 | 53 | 0 | 52
7 | Feni |  | Gas | SIPP,PDB | 8X2.90 | 22 | 22 | 18 | 22 | 22 | 22 |  |  | Synchronized at 33KV
8 | Mahipal,Feni |  | Gas | SIPP,REB | 4X2.90 | 11 | 11 | 5 | 5 | 5 | 5 |  | 6 | Synchronized at 33KV , 2 M/C
9 | Jangalia |  | Gas | SIPP,PDB | 4X8.73 | 33 | 33 | 17 | 17 | 17 | 17 |  | 16 | Synchronized at 33KV , 2 M/C
10 | Summit Power (Comilla) |  | Gas | SIPP,REB |  | 25 | 25 | 20 | 20 | 20 | 20 |  | 5 | Synchronized at 33KV
| Comilla Area Total |  |  |  |  | 1176 | 1061 | 776 | 848 | 786 | 845 | 0 | 191
1 | RPCL CCPP,Mymensing |  | Gas | IPP | 4X35+1x70 | 210 | 197 | 181 | 180 | 181 | 180
2 | Tangail |  | Gas | SIPP,PDB | 8X2.90 | 22 | 22 | 19 | 19 | 20 | 20 |  |  | Synchronized at 33KV
| Mymensing Area Total |  |  |  |  | 232 | 219 | 200 | 199 | 201 | 200 | 0 | 0
1a | Fenchugonj CCPP (old) |  | Gas | PDB | 2x32+1x33 | 97 | 90 | 44 | 51 | 49 | 51 |  | 39 | ST (30/1/12)
1b | Fenchugonj CCPP (new) |  | Gas | PDB | 2x35+1x35 | 104 | 104 | 60 | 60 | 60 | 60 |  | 44 | ST
2 | Fenchugonj |  | Gas | RPP 15yrs | 19X2.90 | 51 | 51 | 42 | 50 | 36 | 50
3 | Fenchuganj Prima 50 MW |  | Gas | RPP | 12x3.3+5x2 |  |  | 37 | 37 | 34 | 37 |  |  | On test
4 | Hobiganj |  | Gas | SIPP,REB | 4X2.90 | 11 | 11 | 11 | 11 | 0 | 11 |  |  | Synchronized at 33KV
5 | Shahjibazar GT 8,9 |  | Gas | PDB | 2X35 | 70 | 66 | 30 | 30 | 60 | 65
6 | Shahjibazar 86 MW |  | Gas | RPP 15yrs | 32X2.90 | 86 | 86 | 75 | 86 | 80 | 86
7 | Shahjibazar 50 MW |  | Gas | RPP 3yrs | 27X2.0 | 50 | 50 | 49 | 50 | 49 | 50
8 | Sylhet GT |  | Gas | PDB | 1X20 | 20 | 20 | 0 | 10 | 0 | 10 |  | 10 | Synchronized at 33KV
9 | Sylhet 50MW |  | Gas | RPP 3yrs | 29x1.95 | 50 | 50 | 40 | 48 | 23 | 48
10 | Sylhet 11 MW |  | Gas | RPP 15yrs | 6X1.95 | 10 | 10 | 9 | 9 | 0 | 9 |  |  | Synchronized at 33KV ,1 M/C
| Sylhet Area Total |  |  |  |  | 549 | 538 | 397 | 442 | 391 | 477 | 0 | 93
1 | Bheramara GT 1, 2 & 3 |  | HSD | PDB | 3X20 | 60 | 46 | 0 | 46 | 0 | 46
2 | Bheramara |  | HSD | RPP 3yrs | 12X8.5+2X6+2X13 | 105 | 105 | 55 | 60 | 55 | 60 |  | 45 | 6 M/C
3a | Khulna ST 110MW |  | FO | PDB | 1X110 | 110 | 55 | 0 | 0 | 0 | 0 |  | 55 | 2011-11-07 |  | Unknown
3b | Khulna ST 60MW |  | FO | PDB | 1X60 | 60 | 30 | 0 | 0 | 0 | 0 |  | 30 | 1912-01-24 |  | Unknown
4 | KPCL ,Khulna. |  | HFO | IPP | 19x6.5 | 110 | 110 | 114 | 114 | 108 | 110
5 | KPCL ,Khulna.(new) |  | HFO | IPP | 7x17 | 115 | 115 | 102 | 102 | 102 | 102 |  |  | 1 M/C
6 | Faridpur |  | FO | PDB | 8x6.89 | 54 | 54 | 0 | 53 | 0 | 53
7 | Gopalganj 110 MW |  | HFO | PDB | 16x6.98 | 109 | 109 | 0 | 64 | 0 | 64 |  | 45 | 5 M/C
8 | Noapara (105 MW) Quantam |  | HFO | RPP | 9.9x5+9.5x6+9.2x2 | 101 | 101 | 27 | 42 | 38 | 42 |  | 59 | 7 M/C
9 | Noapara (40 MW),KZA |  | HFO | RPP | 5x8 | 40 | 40 | 34 | 33 | 33 | 33 |  | 7 | 1 M/C
10 | Khulna 40 MW |  | HSD | RPP 3yrs | 50X0.80 | 40 | 40 | 42 | 41 | 40 | 40
11 | Khulna 55 MW |  | HSD | QRPP 3yrs | 71X0.85 | 55 | 55 | 31 | 51 | 31 | 51 |  |  | Synchronized at 33KV, 4 M/C
| Khulna Area Total |  |  |  |  | 959 | 860 | 405 | 606 | 407 | 601 | 0 | 241
1 | Barisal Diesel |  | HSD | PDB | 2X1.4+2X1.35 | 5 | 2 | 0 | 0 | 0 | 0 |  |  | 4 M/C
2 | Barisal GT 1 & 2 |  | HSD | PDB | 2X20 | 40 | 32 | 0 | 31.5 | 0 | 32
3 | Bhola |  | Gas | RPP 3yrs | 1X34.50 | 33 | 33 | 0 | 0 | 0 | 0 |  | 33 | 2011-07-18 |  | Unknown
| Barisal Area Total |  |  |  |  | 78 | 67 | 0 | 31.5 | 0 | 32 | 0 | 33
1a | Baghabari GT 1 |  | Gas | SBU,PDB | 1X71 | 71 | 71 | 0 | 0 | 0 | 0 |  | 71 | 1912-01-27 |  | 1912-02-18
1b | Baghabari GT 2 |  | Gas | SBU,PDB | 1X100 | 100 | 100 | 108 | 105 | 100 | 100
2 | Baghabari 50 MW |  | HFO | PDB | 6x8.9 | 52 | 52 | 0 | 42 | 0 | 42 |  | 10 | 1 M/C
3 | Baghabari Westmont |  | Gas | IPP | 2X45 | 90 | 70 | 35 | 35 | 35 | 35 |  | 35 | #2(1/8/11) |  | Unknown
4 | Bera 70 MW |  | HFO | PDB | 9x8.29 | 71 | 71 | 0 | 50 | 0 | 50 |  | 21 | 2 M/C
5 | Amnura 50 MW |  | HFO | RPP | 7x7.79 |  |  | 8 | 15 | 8 | 15 |  |  | On test
6 | Bogra GBB |  | Gas | RPP 15yrs | 6X4 | 21 | 21 | 13 | 22 | 22 | 22 |  |  | Synchronized at 33KV
7 | Bogra 20MW |  | Gas | RPP 3yrs | 5x3.3+5x2 | 20 | 20 | 13 | 16 | 12 | 16 |  | 4 | 1 M/C
8 | Summit Power (Ullapara) |  | Gas | SIPP,REB | 4X2.90 | 11 | 11 | 8 | 10 | 8 | 10 |  |  | Synchronized at 33KV
| Rajshahi Area Total |  |  |  |  | 436 | 416 | 185 | 295 | 185 | 290 | 0 | 141
1 | Barapukuria ST 1 & 2 |  | Coal | PDB | 2x125 | 250 | 200 | 78 | 77 | 168 | 90 |  | 123
2 | Rangpur GT |  | HSD | PDB | 1X20 | 20 | 20 | 0 | 20 | 0 | 20
3 | Sayadpur GT |  | HSD | PDB | 1X20 | 20 | 20 | 0 | 17 | 0 | 17
4 | Thakurgaon |  | HSD | RPP 3yrs | 20X1.5+21X1.1 | 47 | 47 | 38 | 43 | 40 | 43
| Rangpur Area Total |  |  |  |  | 337 | 287 | 116 | 157 | 208 | 170 | 0 | 123
| Total |  |  |  |  | 8033 | 7413 | 4068 | 4933.5 | 4286 | 4927 | 1098 | 1391
| Useable load at Substation end after deducting Auxiliary use & Transmission loss | [6 empty] | 3741.8839 | 4538 | 3942.4076 | 4532
A. |  | 2012-01-31 01:28 | (Yesterday) |  |  |  |  | Tuesday
1 | Highest Generation : |  |  | 4933.5 | MW at | 20:00 | hrs | 11 Evening Peak Hour : | [5 empty] | 20:00 | hrs.
2 | Minimum Generation : |  |  | 3027 | MW at | 4:00 | hrs | 12 Max. Demand (Generation end) at evening peak hour : | [5 empty] | 5200 | MW
3 | Day peak Generation : |  |  | 4068 | MW at | 9:00 | hrs | 13 Max. Demand (Substation end) at evening peak hour : | [5 empty] | 4783 | MW
4 | Evening peak Generation : |  |  | 4933.5 | MW at | 20:00 | hrs | 14 Load Shed (Substation end) at evening peak hour : | [5 empty] | 245 | MW
5 | Total Energy Generation : |  |  | 94.3536 | MKWHr |  |  | 15. Area wise Demand ( S/S end), Supply( S/S end) & | [5 empty] | 16 Hourly Load Shed during
| By Gas: | 75.1031 | MKWHr |  | By Oil: | 15.4591 | MKWHr | Load Shed (S/S end) at Evening peak hour in MW : | [5 empty] | Evening Peak hours :
| By Coal: | 1.8467 | MKWHr |  | By Hydro: | 1.9448 | MKWHr | Area | Demand | Supply | Loadshed (Duration) |  |  | Time |  | Loadshed
6 | Generation Shortfall : |  | For Fuel Limitation: |  |  | 1098 | MW | Dhaka | 1825 | 1762 | 63 | 18:00-20:20 |  | Hour |  | MW
|  |  | For Water Shortage: |  |  | 0 | MW | Chittagong | 500 | 464 | 36 | 18:00-20:55 |  | 18:00 |  | 0
|  |  | For Plants Shut down: |  |  | 1391 | MW | Khulna | 535 | 495 | 40 | 18:00-20:55 |  | 18:30 |  | 113.1396
7 | Total Gas Supplied : |  | 696.27 | MMCFD |  |  |  | Rajshahi | 545 | 524 | 21 | 18:00-20:18 |  | 19:00 |  | 284.2286
8 | Fuel Cost : | i) Gas : | Taka | 55599937.6173 | ii) Oil : Taka |  | 261897362.16 | Comilla | 368 | 348 | 20 | 18:00-20:15 |  | 19:30 |  | 264.4522
|  | iii) Coal : | Taka | 5189198.9 | Total | Taka | 322686498.6773 | Mymensing | 340 | 322 | 18 | 18:00-20:15 |  | 20:00 |  | 245.1357
9 | Export Through E-W Interconnectors : |  |  |  | i) Energy | 13.804 | MKWHr. | Sylhet | 270 | 257 | 13 | 18:00-20:10 |  | 21:00 |  | 0
| ii) During Peak Demand : |  |  | 450 | MW at | 20:00 | hrs | Barisal | 104 | 94 | 10 | 18:00-20:55 |  | 22:00 |  | 0
| iii) Maximum : |  |  | 770 | MW at | 6:00 | hrs | Rangpur | 296 | 272 | 24 | 18:00-20:18 |  | 23:00 |  | 0
10 | Maximum Temperature in Dhaka was |  |  |  | 26 °C |  |  | Total | 4783 | 4538 | 245
B. |  | 2012-02-01 01:28 | (Today) |  |  |  | Wednesday |  |  | Probable max. temperature in Dhaka |  |  | 26 °C
Forecast
1 | Maximum Demand (Generation end) |  |  |  | 5200 | MW |  | 6 Total Load Shed forecast (Substation end) : |  |  |  |  | 251 | MW
2 | Maximum Generation (Generation end) |  |  |  | 4927 | MW |  | 7 Area wise Load Shed forecast (Substation end) :
3 | Shortage (Generation end) |  |  |  | 273 | MW |  | Dhaka | Chittagong | Khulna | Rajshahi | Comilla | Mymensing | Sylhet | Barisal | Rangpur
4 | Total Energy Generation |  |  |  | 96 | MKWHr |  | MW | MW | MW | MW | MW | MW | MW | MW | MW
5 | Actual Minimum Generation up to 8:00 hrs. |  |  |  | 3027 | MW at | 4:00 | 69 | 23 | 34 | 34 | 30 | 17 | 15 | 11 | 18
[5 empty] | Deputy / Asstt. Manager | [7 empty] | Manager
[5 empty] | Network Operation Division | [7 empty] | Network Operation Division
Note on L15: 6011, 6008,
Note on L16: 6013
Note on L17: 6901/6902
Note on L18: 5511/5512
Note on L22: 1902
Note on L23: 1911, 1912
Note on L28: 1217
Note on L30: 7202,7212
Note on L31: 251,254,257(o),253(R)
Note on L32: 2211
Note on L41: 3110,3126
Note on L43: 3120
Note on L55: 3399
Note on L58: 4012 01715177466
Note on L63: 4114
Note on L70: 97011
Note on L88: 95511
Note on L89: 95514
Note on L91: 95519
Note on G116: controlroom: =230-k31-50
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft
ft

## Dem
AREA WISE DEMAND & LOAD - SHEDDING FORECAST
Date: | 2012-02-01 01:28
Area | Demand | Supply | Load Shed | Rate | Remarks
| MW | MW | MW
Dhaka | 1850 | 1781 | 69 | 3.73%
Chittagong | 650 | 627 | 23 | 3.538%
Khulna | 510 | 476 | 34 | 6.667%
Rajshahi | 500 | 466 | 34 | 6.8%
Comilla | 430 | 400 | 30 | 6.977%
Mymensing | 252 | 235 | 17 | 6.746%
Sylhet | 203 | 188 | 15 | 7.389%
Barisal | 98 | 87 | 11 | 11.22%
Rangpur | 290 | 272 | 18 | 6.207%
Total | 4783 | 4532 | 251